Kevin Cao & Dhruvit Naik

Project#3:           HVDC

ELC 470: Power Systems

Problem: Familiarize ourselves with three-phase circuits and high-voltage dc transmission.

The first task was to connect the different pieces of the system. The three-phase generator was connected to the diode rectifier. That subsystem was connected to the dc transmission line. Finally, the three-phase inverter and resistive load was connected.  We then calculated the undefined values. Below is PSpice Schematic.

Step #3: PSpice Circuit

Figure 1: Circuit of HVDC Transmission System

Step #4: Transient Analysis of Terminal Voltages

Figure 2: Three-Phase Generator Terminal Voltages (A, B, C) vs. Time

Step #5: Calculate the RMS of Phase a Generator Terminal

RMS VGenA t=61.032

Step #6: Transient Analysis of Sending and Receiving-End Line

Figure 3: Sending and Receiving-End Line Terminal Voltages vs Time

Step #7: Calculate the ripple in the Sending and Receiving

∆VSend=118.59-27.28=91.31 V

∆VRec=66.52-24.32=42.19 V

Step #8: Calculate the average in the Sending and Receiving

In order to calculate the average, we found the sum of voltage * time step and divided the result by the period (0.005).

avgVSendt=3.3260.05=66.52 V

avgVRect=2.1110.05=42.22 V

Step #10: Next Page

Step #11:

When the resistive load is increased, the generator terminal voltages resemble a pure sinusoidal wave. In addition, more current is being drawn to the load. Also the sending and receiving voltages are identical waves. There is no loss between them.

Step #10:

We increased the resistive load from 50 to 500k per phase. Then reexamined the generator and sending & receiving terminal voltages.

Figure 4: Three-Phase Generator Terminal Voltages (A, B, C) vs. Time with 500k load

Figure 5: Sending and Receiving-End Line Terminal Voltages vs Time with 500k load

Step #13:

Figure 6: Load Voltages (A, B, C) vs. Time

Step #14:

Figure 7: Generator and Load Voltages/Currents for Phase A vs. Time

Step #15: RMS magnitude of voltages and currents below.

RMS VGenA t=61.032

RMS VLoadA t=41.845

RMS IGenA t=10.364

RMS ILoadA t=8.369

Step #16: Read Power output of generator and load.

PGenA=506.85 Watts

PLoadA=305.20 Watts

Step #17: Efficiency of transmission system.

efficiecy %=69.1%

Step #18:

For the HVDC transmission line, as resistivity increases the efficiency follows a negative log trend. While the 3-Phase system resistivity increase the efficiency decreases linearly. Thus the HVDC is much more stable in terms of efficiency vs line resistivity.

Step #19: Fourier Analysis

Gen V=-0.52+[-19.05cosωt+77.85sin(ωt)]

Gen I=3.142+[7.52cosωt-11.10sin(ωt)]

Load V=-15.752+[9.66cosωt+52.4sin(ωt)]

Load I=-3.152+[1.93cosωt+10.48sin(ωt)]

Next Page:

Figure 8-11: Comparison of Waveforms and Fundamental Components of Generator and Load Terminal Voltages/Currents for Phase A vs. Time

Step #20: Define Phasors for fundamental waveform. Note we shifted the phase angles to assume generator voltage has an angle of zero.

VGenA(1)=56.67∠0

IGenA(1)=9.47∠20.4

VLoadA(1)=37.68∠155.61

ILoadA(1)=7.53∠155.61

Step #21: Complex Power

PGenA(1)=56.67*9.47∠0+20.4=503+187.07j

PLoadA(1)=37.68*7.53∠155.61-155.61=283.73

Step #22:

When comparing the power calculated in step #21 and #16, the results to do not match up. This is because we are only considering the first harmonic in #21. While #16 has the sum of all harmonics.

Step #23:

Delta VLoad=104.42-82.17=22.25V

Delta ILoad=20.88-16.43=4.45A

Real Power Load=99 Watts

Figure 12: Filter Design for Load

Figure 13: Load Voltages (A) vs. Time with Filter

Figure 14: Load Current (A,) vs. Time with Filter